Controlling two outputs with one momentary pushbutton

If I1 is pressed for a short moment, Q1 is switched on/off.

If I1 is pressed for longer than 1 second, Q2 is switched on/off.

Warning:

Unsafe operating conditions can cause controllers to fail, resulting in unchecked operation of controlled devices.

Such hazardous events can cause death and/or serious injury and/or material damage. You must therefore provide an emergency stop function and electric or other redundant safety devices that are independent of your automation system.